Cable Supplement Record Inquiry

General Agreement Co-Provider:

- All Licensee facilities attached to Licensor’s poles shall be installed in a manner to ensure compliance with the requirements of the “National Electrical Safety Code” (NESC) in effect at the time of installation.

- All proposed joint use poles must be permitted prior to the attachment of the attachment of Licensee’s facility.  This includes all main line poles and lift poles used for drops.

- The location of all cables or any other joint attachment equipment on Licensor’s poles shall be approved in writing by the Licensor prior to attachment (See Exhibit “C”).

- The Licensee shall provide full specifications of the attachments to be installed including but not limited to the following:

- Size and type of messenger including weight per foot and design tension.

- Size and type of communications cable including weight per foot and diameter.

- Drawings showing type of bolted attachments.

- Drawing showing installation specifications, rating and type of guy and anchor assemblies proposed to be used by Licensee.

- Preliminary “ride through” of the proposed route of the Licensee’s attachments shall be made by a representative from the Licensor and the Licensee.

- A “make ready” survey shall be performed by the Licensor to determine if the existing poles are adequate to receive additional attachments of the Licensee.

- CenturyLink maintains its right to maintain being the lowest attachment on the pole per Telcordia Manual of Construction Procedures 3.2.1

- Application:

This application is made for permission to install attachments to the poles indicated in the sketch attached hereto.

- Number of Attachments: ___________________________________________________

- Proposed installation date: __________________________________________________

- Type of cable and strand: ___________________________________________________

- Weight per foot of cable and stand: ___________________________________________

- Diameter of cable and strand: _______________________________________________

- Self-supporting or lashed cable: _____________________________________________

NESC design tension (only for Applications that require a load calculation):

__________________________________________________________

By:__________________________________

Title:_________________________________